{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":7,"n_cols":5,"rows_kept":7,"merged":[[0,0,0,4]],"flags":["formulas_cached_only"]}
["区住建局、区人社局建筑市场行为情况跨部门联合抽查名单（2021年11月）"]
["序号","统一社会信用代码/注册号","检查对象名称","检查项目","存在问题"]
[1,"91440101190527857P","富利建设集团有限公司","清远保利天珺花园三期","1.未按要求在实名制系统上传施工许可证、工人工资保证金缴纳证明、工人工资发放流水、工人劳动合同等；2.未规范所有人员通过实名制通道进出工地；3.现场局部材料堆放与配电箱、脚手架安全距离不足；4.电动车未设置安全充电区域。"]
[2,"914401141911904832","广州市花都第四建筑工程有限公司","美林湖Q区学校项目","1.未按要求录入进出工地所有人员相关信息，施工总承包单位仅录入项目经理、劳务人员相关信息；2.未按要求录入农民工用工合同信息；3.实名制系统利用率不高，未规范全部人员通过闸机进出工地；4.现场楼层灭火器数量不足，楼层无水枪、水带；5.焊工无特种作业证；6.办公房无合格证明；7.消防平面布置图未提供。"]
[3,"91440300775585577K ","深圳新美装饰建设集团有限公司","1#厂房                    （广东宏昌胶粘科技有限公司）","1.消防检查记录不全、动火审批资料未更新，消防交底资料缺失，应急演练无记录；2.办公区和生活区板房合格资料未提供；3.现场楼层灭火器配备未按方案数量配置；4.塔吊四周电线未作保护。"]
[4,"91441802197620544N ","清远市清城区第一建筑工程公司","上湖茗居","1.项目经理实名制系统为照片考勤；2.实名制系统利用率不高，未规范全部人员通过闸机进出工地；3.楼层灭火器数量不足，消防管未设置；4.临时办公房无合格证明；5.消防平面布置图未提供；6.现场缺应急疏散标志。"]
[5,"91441803748021063F ","清新建筑集团（广东）有限公司","清远市东城污水处理厂二期工程","1.实名制通道设置不合理；2.工人工资流水、工人合同未上传实名制系统，项目经理存在照片打卡（实名制系统）；3.未定期组织开展临电消防自查自纠；4.宿舍区域部分材料未集中堆放，食堂内电线乱拉乱接，存在一个煤气瓶露天放置；5.生活区环境卫生较差，生活垃圾未及时收集并清运。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}